## Slide 1: The Los Alamos National Laboratory nEDM Experiment
Felicity B. Hills
University of Michigan, Ann Arbor
nEDM 2023

## Slide 2
The LANL nEDM Collaboration
This work is funded by LANL LDRD, NSF, and DOE

## Slide 3: Upcoming LANL nEDM Talks
Title | Speaker | Day | Time
Magnetic Mapping Amelioration | Austin Reid | Tuesday | 4:50 PM
199Hg magnetometer for LANL nEDM experiment | Jennie Chen | Tuesday | 5:10 PM
Characterization of the magnetically Shielded room for the LANL nEDM experiment | Felicity Hills | Wednesday | 2:00 PM
B0 magnet for the LANL nEDM experiment | Dillon Buskirk | Wednesday | 2:20 PM

## Slide 4
How do we reach ~2x10-27 e-cm in a Ramsey Separated Oscillatory Field nEDM Experiment?  Statistical Sensitivity and Magnetics
For 365 days of data collection, we need:
Parameter | Approx. Value
N | 39,000
T | 180 s
E | 12 kV/cm
 | 0.85
Parameter | Approx. Value
N | 39,000
T | 180 s
E | 12 kV/cm
 | 0.85
How are we doing it?

## Slide 5: N ~ 39,000 UCN
Spallation neutrons with an SD2 converter
Tour Thursday!

## Slide 6: N ~ 39,000 UCN; T ~ 180 s
Ito, et al (2018)

## Slide 7: HV Under Development…
External pi/2, Reduce RF interference with Fiberglass Vacuum Chamber
~ 10-6 Torr before most recent upgrade
Cell Valve Actuator
Valve

## Slide 8: Characterizing 𝛼
Double layer modified cos(𝜃) spin transport coils
Spin Analyzer

## Slide 9: Upcoming UCN Transport Study
STC
STC
MSR
To Spin Analyzer

## Slide 10: Magnetic Field Requirements (uniformity, stability)
Shielding Factor measured before degaussing
More talks Tuesday and Wednesday!
4 mu metal layer, 1 Cu layer MSR

## Slide 11: Magnetic Uniformity
Octagonal B0 coil made of PCBs
Fluxgate Flipper to characterize MSR and B0 performance, plus mapping

## Slide 12: First tests of B0 performance
More Details Wednesday!

## Slide 13: Magnetic Contamination Scanning
Pictured: Doug Wong

## Slide 14: Magnetic Contamination Scanning

## Slide 15: Magnetic Field Stability
Magnetometry Requirement: ~ 150 fT for 480 s
Combination of OPMs and Hg magnetometry

## Slide 16: Hg-199 (co)magnetometers
Perfluoroeicosane (C20F42) as the wall coating towards the HV mercury cell
  Reference cell with natural Hg and Helium for feedback laser signal
Design and fabricate the feedback locking circuit so the laser locks at two frequencies during the pump and probe phases with a Hg reference cell.
More Tuesday!

## Slide 17: Optically pumped alkali magnetometers (Rb OPMs) Collaboration with T. Kornack, M. Limes
Averaging noise
Drift
60 Hz

## Slide 18: Coming Soon…
Temperature Control for MSR
Refined FEW studies to understand shielding factor/layer
Magnetic Contamination Scanning Upgrades: sensitivity better than 0.1 nT
NiP and NiMo  DLC for HV electrodes
First nEDM measurements!

## Slide 19: Thank You